## (1) DNA Extraction
Notes: Same as Andres/Lisa protocol
| Microbial DBA extraction. | DNEASY ULTRACLEAN 96 MICROBIAL KIT. FOR 4 PLATES USE WHOLE KIT
Most likely screw-ups: 1. Cross contamination by blow-out after dispensing/splashing on Benchsmart. Use mix setting to avoid this. 2. Cross contamantion from air-borne DNA. Use lids at all steps. 3. Reusing contaminated tips. 4. Dropping plates.
| NB CENTRIFUGING: CHECK MAX. RPM AND ALWAYS REMOVE SIDES OF PLATE COVERS. | HIPLATE rotor settings; Huang lab max = 4000g. | KC Lab rotor settings | Benchsmart settings | Instructions for BioHUb Benchsmart
1 | Thaw cultures at room temperature if frozen
2 | While thawing, centrifuge PowerBead DNA Plate to bring down beads which lyse cells. | 4500 g for 3 min, RT | 4000 g for 4 min, RT
3 | Remove sealing mat from PowerBead DNA plate and add 300 uL PowerBead Solution (buffer) to all plates with the same tips. Keep plates covered. |  |  | 300 uL, speed 5
4 | Add 60 uL solution SL (cell lyser) to all plates with the same tips |  |  | 60 uL, speed 5
5 | Spin down plates with cultures to remove condensation using centrifuge or plate spinner. | 4000 g 1 min, RT | 4000 g 1 min, RT
6 | Remove controls if necessary by removing correponding clean tips on Benchsmart.
7 | Resuspend cultures with clean tips. Use adaptor to steadily move cultures while mixing on Benchsmart. |  |  | Mix. Aspirate 50, Mix 50, Cycles 10, Asp speed 3, Mix speed 8 | Note: Pipet/mix mode. Press run to suck up. Then press run again to mix. At the end it will ask to press RUN to suck up the last 10 uL
8 | Transfer 50 uL of culture to PowerBead Plate using Benchsmart. Add individual samples if necessary. |  |  | 50 uL, speed 5
9 | Seal with new sealing mat very firmly using roller (can come lose in tissue lyser).
10 | Place plates in TissueLyser. Secure and lock pins. After locking pins, tighten until can tighten no further.
11 | Shake at 20 Hz for 10 min
12 | Reorient plates so that side that was closest to machine body is now furthest from it and shake at 20 Hz for 10 min
13 | Centrifuge PowerBead Plates to pull down beads. | 4500 g for 6 min, RT | 4000 g for 7 min, RT
14 | While centrifuging, add 100 uL IRS solution to 2mL (not 1 mL) collection plates using same tips and lids. |  |  | 100 uL, speed 5
15 | Remove and discard PowerBead Plate sealing mat. TransferPowerBead plate supernatant to 2mL collection plates with IRS and mix. When taking the supernatant avoid taking beads because they can clog tips. Use cellphone flashligh to see the tips. Cover collection plates with transparent seal and remove sides of seal. |  |  | Mix. Aspirate 500 uL, Mix 500 uL, Cycles 3, Asp speed 1, Mix speed 5
16 | Incubate collection plates at 4C for 10 min
17 | Centrifuge to pellet precipitates. | 4500 g, 9 min, RT | 4000 g, 10 min, RT
18 | While centrifuging add 800 uL SB (ethanol buffer helps DNA stick to column) to clean 2 mL collection plates using same tips. |  |  | 800 uL, speed 5
19 | While centrifuging, place QIAamp 96 plate on top of 1 mL collection tubes.
20 | Avoiding the pellet, transfer supernatant to plates with SB, 600 uL to transfer all supernatant. |  |  | Mix, Aspirate 600 uL, Mix 500 uL, Cycles 3, Asp speed 1, Mix speed 5
21 | Using the same tips, transfer 600 uL to QIAamp 96 plate (binds DNA) |  |  | 600 uL, speed 5
22 | Vacuum to make sample go through. If clogged, slap the shit out of it. Empty reservoir to avoid overflow.
23 | Using the same tips, transfer the rest of the volume to QIAamp 96 plate |  |  | 600 uL, speed 5
24 | Vacuum to make sample go through
25 | Repeat 15-19 with clean tips for all plates.
26 | Reusing clean tips, add 400 uL CB (for washing) to all QiAamp 96 plates. Do not touch liquid in column. |  |  | Pipet, 400, speed 8
27 | Vacuum to make CB go through
28 | CHECK THIS STEP. Reusing clean tips, add 400 uL CB to all QIAamp 96 plates |  |  | Pipet, 400, speed 8
29 | Vacuum to make CB go through
30 | Place the QIAamp plates back on the 1 mL collection plates, seal with AirPore Tape Sheet and centrifuge | 4500 g, 6 min, RT | 4000 g, 7 min, RT
31 | Place the QIAamp plates on the blue Elution microtubes CL racks, remove AirPore Tape sheet, cover with rack cover (lid for blue racks) and dry at room temp for 10 min .
32 | Place clean 200 uL PCR plate between QIAamp plate and the rack. Label PCR plate date/name/ref label/DNA.
33 | Add 100 uL EB to each well and cover firmly with airpore tape. Tape top to bottom so it doesn't fall off in centrifuge |  |  | Pipet, 100, speed 5.
34 | Centrifuge to elute | 4500 g, 3 min, RT | 4000 g, 4 min, RT
35 | Cover with aluminum seal and store at -20C

## (2) 16S PCR
The enzyme: AccuStart II (QuantaBio, cat. no. 95137) master mix
Tips:
PCR 16S rRNA v4 96-well plate protocol
Use filter tips for all common reagents
Forward primer sets are in the -20 C common freezer. Reuse these plates, with extreme caution
Reverse primers are in the -20 C common freezer, take a tube and keep it.
Master mix of reagents are in the -20 C common freezer, take the tubes you need and keep them at 4C for a couple of months (don't freeze-thaw cycle them)
Keep everything covered whenever possible to avoid contamination
Benchsmart blows out after pipetting --remove tips from liquid just before the end to avoid bubbles. Or change settings so it doesn't blow out (as in mixing settings)
Benchsmart blows out after pipette and mix and hitting reset --remove tips from liquid before pressing reset to avoid bubbles
Benchsmart: generally dispense from near the top of wells
Time experiment to complete PCR reaction shortly before theromocycler is booked: it's not ok to let the PCR reaction sit around because nucleases may degrade the DNA
Protocol:
Reaction setup for AccuStart with 75 µL reactions:
| 96 samples | 192 samples
2X master mix | 3750 µL | 7500 µL
Water | 3150 µL | 6300 µL
Rev Primer | 32 µL | 64 µL
Total volume | 6.9 mL | 13.8 mL
Aliquot 69 µL for each well, then add 3 µL of forward primer, and 3 µL of genomic DNA
PCR cycles:
a. 94 C for 3 min
b. 35 cycles of [94 for 45 s; 50 for 1 min; 72 for 1:30 m:s]
c. 72 for 10 min
d. hold at 4C.

## (3) Gel check PCR
Gel electorphoresis to check 16S rRNA PCR
For 4 plates, 2 columns/plate.
Mix 1 % agarose with 1 x LAB (lithium acetate) about 150 mL in conical for gel
Microwave, power 5, 2 mins, then 1 min at a time until dissolved
Allow to cool a little, add 10 uL cyber safe (under microwave)
Pour gel with 4 lanes (use tape to seal sides of chamber)
Dispense 3 color heavy loading dye (under microwave) into reservoir then pipette 1 uL into 8 x columns 96 plate
Return residual dye to loading dye bottle
Spin down PCR plates (with holders)
Pipette 3-4 uL of PCR into 1 uL loading dye; track columns carefully. Use columns with controls.
Prepare chamber with gel and 1x LAB buffer (can be reused); check chamber orientation (DNA moves to positive end).
Load gel with ~4 uL dye + PCR, interlocating columns.
Load 5 uL 100 bp ladder (Andres 4C)
Run at constant voltage 150 V--> Set Time 40 min--> Run.
Check after 20 min. Image --> New protocol, follow instructions.
Retain buffer in used bottle beneath microwave.
Wash chamber in DI to avoid salts building up.
Read gel

## (4) Cleanup and Final Gel
Notes: This step is the biggest change to the protocol
* Does not normalize DNA input, as you can rarefy during the analysis process and tbh in my experience normalizing doesn't do a whole lot if you're working with similar DNA output samples (ie all communities, all stool, or all one type, etc)
* Does NOT USE THE QIAGEN 96 well PCR CLEAN UP KIT
Clean up
1) | Using multichannel, take 5 uL from all wells of the post-16S and pool into a reservoir
2) | Put all liquid from reservoir into a 50 mL falcon tube. Wash reservoir with 2x500 uL of PCR-grade water
3) | Using the gel and PCR clean-up kit under the singer that is individual tubes, calculate the amount of N1 buffer and tubes needed
eg. 8 plates * 96 wells * 0.005 = 3.84 mL will need 7.68 mL of N1 buffer
Optional: If you are doing a large prep of plates, you could opt to use the 96 well PCR clean up kit by putting the pool through 1x96 well plate. If you use this method, change the buffers,etc to accomodate the Qiagen kit
4) | Follow the kit instructions, be sure to wash twice, dry the column, and elute using ~20 uL nuclease-free water (or elution buffer)
5) | Pool all tubes into 1 tube
Gel
1) | Make a small gel using 75 mL of LAB and 1% agarose and ~5 uL of SYBR safe
2) | Using the giant comb to make this gel (I usually tape over ~ 3 wells of the largest comb, don't forget to leave one space for the ladder)
3) | Add 6X loading dye, the final volume of your DNA + Dye will be something like 500 uL. I typically load about 100 uL into the gel just in case something happens then I have back-up
4) | Run gel
5) | Extract gel band using same kit you used earlier but this time do the gel instructions
Final volume for me usually ends up being around ~30-50 uL of 24-100 ng/uL of DNA, enough to QuantIT and send off to BioHub
46